## Sheet1
Variable list | SVL
prefix | state
var name | alarm
Motor | name | id | qf | km | fb open | fb close | cmd fw | cmd rw | comments
pikachu 1 | Not_1_1 | 1 | A2.DI1 | A2.DI2 |  |  | A15.DO7 |  | херота какая-то
pikachu 2 | Not_2_2 | 2 | A2.DI3 | A2.DI4 |  |  | A15.DO8 |  | ыть
pikachu 3 | Not_3_3 | 3 | A2.DI5 | A2.DI6 |  |  | A15.DO9 |  | хуить
pikchu 4 | Not_4_4 | 4 | A2.DI7 | A2.DI8 |  |  | A15.DO10 |  | мда
Valve | name | id | qf |  | fb open | fb close | cmd fw | cmd rw | comments
Клапан А1 | V_A_1 | 1 | A2.DI1 |  |  |  | A15.DO7 | A15.DO11 | клапан пидора
Клапан А2 | V_A_2 | 2 | A2.DI3 |  |  |  | A15.DO8 | A15.DO9 | клапан шлюхи
Клапан А3 | V_A_3 | 3 | A2.DI5 |  |  |  | A15.DO9 | A15.DO13 | клапан заказчика
Клапан А4 | V_A_4 | 4 | A2.DI7 |  |  |  | A15.DO10 | A15.DO14 | клапан хуйла
Analog Input | name | id | real | int |  |  |  |  | comments
Давлние PE 1 | PE_1 | 1 | A10.AI1 | [5 empty] | Давление в очке
Давлние PE 2 | PE_2 | 2 |  | A11.AI1 |  |  |  |  | Давление вне очка
Analog Output | name | id |  |  |  |  | out real | out int | comments
Скорость UZ 1 | sp_UZ_1 | 1 |  |  |  |  | A4.AI14 |  | Скорость горения очка
Скорость UZ 2 | sp_UZ_2 | 2 |  |  |  |  | A4.AI13 |  | Расход воды на тушение очка
Discrete Input | name | id | input | [5 empty] | comments
Emergency Stop | keyEmergency | 1 | A2.DI1 | [5 empty] | Key - emergency stop
Start process | keyStart | 2 | A2.DI3 | [5 empty] | Key - start auto mode
Stop process | keyStop | 3 | A2.DI5 | [5 empty] | Key - stop auto mode
Reset alamrs | keyReset | 4 | [6 empty] | Key - reset alarms
Discrete Output | name | id |  |  |  |  | output |  | comments
ready to work | ledWhite | 1 | [6 empty] | Lamp state - white - ready to work
system in operation | ledGreen | 2 |  |  |  |  | A15.DO9 |  | Lamp state - green - system in operation
system in standby mode | ledYellow | 3 | [6 empty] | Lamp state - yellow - system in standby mode
there is at least one alarm in the system | ledRed | 4 | [6 empty] | Lamp state - red - there is at least one alarm in the system
new alarm notification | cmdSiren | 5 |  |  |  |  | A15.DO9 |  | Command - sound siren - new alarm notification